**呼吸道處理設備建議**

**精 神**

如美國麻醉醫師學會建議，特定呼吸道處置設備宜整合並易於攜帶。

The consultants and ASA members strongly agree that at least one portable storage unit that contains specialized equipment for difficult airway management should be readily available. *Practice Guidelines for Management of the Difficult Airway. An Updated Report by the American Society of Anesthesiologists Task Force on Management of the Difficult Airway. Anesthesiology. 2013;118:251-70.*

**目 標**

就本院現況，考量成本並且務實地將呼吸道處置設備分為基本及專家兩等級，並效法現有急救車的作法，統一擺放位置，以利不同單位間的互相支援。

**建議設備**

此處為基本建議(minimal requirement)，各單位可依實際需求增添或調整，務必以患者安全為優先。

**基本級**

面罩與甦醒器(BVM)，甚少處理呼吸道的單位可選用口袋面罩(pocket mask)

傳統式喉鏡(rigid laryngoscope with appropriate-size blades)

硬式(Yankauer)及軟式抽吸管(若牆上無內建式的抽吸設備，必須有攜帶型抽吸器)

氣管內管(適合該單位患者使用的尺寸)

聲門上呼吸道(supraglottic airways)(適合該單位患者使用的尺寸)

氣管插管前用藥(RSI medications)

血氧飽和度儀(pulse oximeter)

吐氣二氧化碳偵測器(exhaled CO2 detector)

**專家級**

設置於常需呼吸道處置的單位，如麻醉科、加護病房、急診等。

面罩與甦醒器(BVM)

傳統式喉鏡(rigid laryngoscope with appropriate-size blades)

影像式喉鏡(video laryngoscope with appropriate-size blades)

氣道通條(airway stylets)

氣道內視鏡(fiberoptic scope)

環甲膜切開(cricothyrotomy)設備

硬式(Yankauer)及軟式抽吸管(若牆上無內建式的抽吸設備，必須有攜帶型抽吸器)

氣管內管(適合該單位患者使用的尺寸)

聲門上呼吸道(supraglottic airways)(e.g., Laryngeal mask airway; LMA)

管插管前用藥(RSI medications)

血氧飽和度儀(pulse oximeter)

吐氣二氧化碳偵測器(exhaled Capnometer)